PMT Testing
Unpack and Load PMT into
Black Box
Insert Sr-90 Source into
Designated Cavity If
Needed
Connect HV Cables
Apply Optical Grease If
Needed
Pull Back and Secure Sled
Insert PMT into Box,
w/ Ground Up
Press PMT Forward until
Flush
Secure PMT w/ Rubber
Bands and Release
Sled
Close Black Box
1500 V Dark Current
Measurement
1500V ADC Measurement
Baseline ADC Measurement
Baseline Rate of Events
Measurement
Baseline Dark Current
Measurement
Baseline Snapshot
1500 V Snapshot
1700 V Snapshot
1500 V Rate of Events
Measurement
1500 V Dark Current
Measurement
Rise Time Measurement
Rise Time Measurement
Database Entry